TITLE: Sanitization of behavioral testing equipment, restraint apparatuses and other equipment animals may come in direct contact with

| PURPOSE: | To outline recommendations for sanitization and disinfection of lab-owned equipment and behavioral testing apparatuses used in live animal studies |
| --- | --- |
| SCOPE: | Investigators using restraint devices, behavioral testing equipment, or other lab equipment for live animal studies |
| SUPPORTING DOCUMENTS: | Sanitization Record – Testing Equipment Log |

- Recommendations for before and after each use:

  - Remove all debris from equipment (urine, feces, bedding, etc…)

  - Follow manufacturer’s cleaning recommendations to maintain integrity of testing equipment

  - If possible, disinfect equipment with disinfectant validated by ATP swab testing.

    - A list of approved disinfectants includes Potassium peroxymonosulfate (Trifectant® or Virkon®), Hydrogen Peroxide disinfectants, and chlorine-based solutions (e.g. Fuzion® or diluted bleach solution).

    - Other disinfectants may be used. Contact BRMS for information about swab testing validation.

  - This guidance does not supersede IBC requirements.

- Use of a sanitization log is recommended but not always required.

NOTE: For optional microbiological monitoring of equipment, contact BRMS or veterinary staff(s).

| Revision Year | Revision | Revision Description |
| --- | --- | --- |
| 2020 | 0 | Initial Release |
| 2023 | 1 | Reviewed and Revised |